## Slide 1: NOX Systems
Installation, configuration and introduction to service functions

## Slide 2: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 3: NOX versioner

## Slide 4: System Topology
A flexable integrated system for intrusion, access control and building management
Example of structure
CMU
IO4
THS
IO1
RE4
RPT
4000 areas
100.000 users
3 pcs. RS485 bus per central
10.000 inputs per system
75 doors per central
Wireless doors, if many doors are required, use a dedicated central (20+)
Max. 30 gatenodes per central
20 centrals in a networked environment
2 x ethernet interfaces
CMO

## Slide 5: NOX
Up to 127/200 modules per BUS
Wireless
IR detector
Wireless
glass break
Wireless
temperature- and humidity sensor
Wireless
optical measurement
Water detector
Control panel
Card reader
Card reader
Card reader

## Slide 6: NOX
Touch-screen
NOX Corporate utilizes up to 30 outgoing IP connections
IP-camera
Wireless doors
VMS- Server

## Slide 7: NOX Corp Central Unit
Powerfull CPU (Toradex T30)
Optical Tamper protection
PSU 5Amp w. 2 batteries, rated up to 20 AH
Extra space for 3rd party Alarm Transmission Unit, or centralized modules using NOX Module Base

## Slide 8
PIN 1,6: 15V +
PIN 2,4,7,9: Input
PIN 3,5,8,10: Output (OC)
PIN 1,2: 15V +/-
PIN 3,4: Tamper input
PIN 5 -10: Relay (2x)
Bus connection
NOXONE

## Slide 9: Control Panel CPA
Graphical display
ABS Plastic
Surface mount, or recessed by option
Mifare Reader as an option
4 x LED indicators

## Slide 10: NOX IO4 – 4 inputs + 4 outputs
Input-/Output module w. 4 inputs and 4 OC outputs
4 Triple balanced inputs
4 open collector output, rated 100 mA each. Output is default on, and can be programmed from NOX Config
Tamper Contact on top and an optical tamper on the back (only on IO4 G3 units)
In the NOX alarm circuit it is the V+ that is refference

## Slide 11: NOX RE4 – Relay unit
4 freely programmable Relays
Solid State Relays for high performance

## Slide 12: NOX RPT
RS-485 Bus extender
Allows for stubs and star connections
Tamper Contact

## Slide 13: NOX CMO – OSDP unit
Card reader Unit with OSDP v2 protocol
Support for 2 readers per unit (in- and out readers)
Full programming of reader behavior avaliable
1 balanced input
1 relay for lock
Tamper Contact
TTL input for RTE – Note that TTL uses 0V/GND as reference, this is the only input on NOX units that uses this reference.

## Slide 14: Important points
    EOL resistor for the BUS 120 
    BUS standard is RS-485, must use TP cable! (NOX BUS Cable)
    BUS length max. 1.200 meter, can be extended with the use of RPT units (max. 8)
    No stubs without RPT, BUS must be daisy chained
    EOL resistor for inputs are default 12k, but profiles for 5k6, 4k7 exist, all inputs are triple balanced
    Programmable resistor values must be between 3,5k and 50k (EN50131)
    Network communication protected with AES encryption
    Log size: Alarm logs 2.000, Internal logs 2.000, User logs 6.000 (extendable on Corporate)

## Slide 15: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 16: NOX Areas, types and states
Alarm
Disarmed
Disarmed Exit
Disarmed Exit Wait
Armed
Disarmed Entry
System
Armed
Disarmed
On/Off
Door
Door Unlocked
Door Closed
Access Granted
Door Held Warning
Forced Entry
Door Open
Door Held Alarm
On
Off

## Slide 17: NOX Areas, Create Areas
1. Alarm
Alarm Areas
x. System
Door Areas
2. Door Entrance
3. Door Gate Area 6

## Slide 18: NOX Areas, Inputs/detectors
Inputs/detectors
IR Area 1
IR Area 2
IR Area 3
IR Area 4
IR Area 6
MC Door Entrance
IR Area 5
MC Gate Area 6
Keybox
1. Alarm
Alarm Areas
x. System
Door Areas
2. Door Entrance
3. Door Gate Area 6

## Slide 19: NOX User Profiles
User Profiles
Administrator
Master User
Storage
Kitchen
IT
1. Alarm
2. Door Entrance
x. System
3. Door Gate Area 6

## Slide 20: NOX User Profiles
User Profiles
Administrator
Master User
Storage
Kitchen
IT
1. Alarm
2. Door Entrance
x. System
3. Door Gate Area 6

## Slide 21: NOX User Profiles
User Profiles
Administrator
Master User
Storage
Kitchen
IT
1. Alarm
2. Door Entrance
x. System
3. Door Gate Area 6

## Slide 22: NOX User Profiles
User Profiles
Administrator
Master User
Storage
Kitchen
IT
1. Alarm
2. Door Entrance
x. System
3. Door Gate Area 6

## Slide 23: NOX User Profiles
User Profiles
Administrator
Master User
Storage
Kitchen
IT
1. Alarm
2. Door Entrance
x. System
3. Door Gate Area 6

## Slide 24: Users and User Profiles

## Slide 25: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 26: NOX startup
    Install NOX Config Software
    Create a new customer
    Configure your network adapter IP 10.10.11.100, Subnet 255.255.255.0
    The default IP of a NOX central is always 10.10.11.11, but it is different in training, see label on the casing
    Connect to the NOX
    Software ask if you want to create a new customer based on the configuration in the central, this is OK to do
    Open Loader, this is where you change the IP address (not allowed in training)
    NOX default IP on ETH1 is 10.10.11.11 and DHCP on ETH2
    There is one default user, Administrator, in a new configuration, you must change the code to your own preferences, in training please use 500 as code.

## Slide 27: NOX Config
    Overview of NOX Config, General

## Slide 28: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 29: Practice 1
    Areas 1. Alarm 2. Door Entrance 3. Door Gate Area 6
    x. System
Description of floor plan
Create areas
CPA special setting
Create units
Configure inputs and outputs

## Slide 30: Practice 1
Description of floor plan
Create areas
CPA special setting
Create units
Configure inputs and outputs

## Slide 31: Practice 1
Description of floor plan
Create areas
CPA special setting
Create units
Configure inputs and outputs Hand out the Configuration scheme

## Slide 32: Practice 1
Install Scheme demo system 20 |  |  |  |  |  |  |  | 
Address | BUS | ID-Number | Type | Input number | Area | Input name | Output number | Output name
368.171 | 3 | 3001 | PS5B |  |  | PSU Central |  | 
375.057 | 1 | 1002 | CPA |  |  | CPA Entrance |  | 
345.594 | 2 | 2003 | IO4 |  |  | IO4 A |  | 
 |  | 2003-1 |  | 1 | 1. Alarm | IR Area 3 | 1 | Siren Area 1
 |  | 2003-2 |  | 2 | 1. Alarm | IR Area 2 | 2 | Light Area 3
 |  | 2003-3 |  | 3 | 1. Alarm | IR Area 1 | 3 | 
 |  | 2003-4 |  | 4 | X. System | Keybox | 4 | 
345.593 | 2 | 2004 | IO4 |  |  | IO4 B |  | 
 |  | 2004-1 |  | 1 | 1. Alarm | IR Area 6 | 1 | Siren Area 6
 |  | 2004-2 |  | 2 | 1. Alarm | MC Gate Area 6 | 2 | 
 |  | 2004-3 |  | 3 | 1. Alarm | IR Area 5 | 3 | 
 |  | 2004-4 |  | 4 | 1. Alarm | IR Area 4 | 4 | 
345.592 | 2 | 2005 | IO4 |  |  | IO4 C |  | 
 |  | 2005-1 |  | 1 |  | Contact 1 | 1 | LED 1
 |  | 2005-2 |  | 2 |  | Contact 2 | 2 | LED 2
 |  | 2005-3 |  | 3 |  | Contact 3 | 3 | LED 3
 |  | 2005-4 |  | 4 |  | Contact 4 | 4 | LED 4
392.519 | 2 | 2006 | CMO |  |  | Door Entrance |  | 
 |  |  |  | 1 | 1. Alarm | MC Door Entrance | 1 | Relay Door Entrance
 |  |  |  | 2 | 7. Door Entrance | RTE Door Entrance | 2 | 
 |  |  |  | 3 |  | Disp. |  | 
6395205 |  |  | CPU |  |  |  |  | 
Card Code |  |  |  | 2073016546 |  |  |  | 

## Slide 33: Practice 1
Description of floor plan
Create areas
CPA special setting
Create units
Configure inputs and outputs Detector Test and System Info

## Slide 34: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 35: Practice 2
    Create Server Room (Area 4)
    Move the input
    Create slave settings for area and door

## Slide 36: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 37: Practice 3
Overview of CMO settings
Overview of CMO templates
Door area: Door Entrance
Overview of User Profiles
Create a Storage User Profile
Access by Card only
Access by Card + PIN

## Slide 38: Practice 3
Overview of CMO settings
Overview of CMO templates
Door area: Door Entrance
Overview of User Profiles
Create a Storage User Profile
Access by Card only
Access by Card + PIN

## Slide 39: Practice 3
Overview of CMO settings
Overview of CMO templates
Door area: Door Entrance
Overview of User Profiles
Create a Storage User Profile
Access by Card only
Access by Card + PIN
Try using the template for setting:
Access with Card only if disarmed, if armed Card + PIN,
Card + PIN also starts Diarmed Entry time.
Note that the input of the door now is a part of the intrusion function.

## Slide 40: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 41: Practice 4
Overview of Time Profiles
Create a Time Profile: Card Only 8 – 16
Limit the setting on Door Entrance (CMO)
Create a Time Profile: Opening hour storage 7 - 15
Configure automatic open/close door for Door Gate Area 6

## Slide 42: Practice 4
Overview of Time Profiles
Create a Time Profile: Card Only 8 – 16
Limit the setting on Door Entrance (CMO)
Create a Time Profile: Opening hour storage 7 - 15
Configure automatic open/close door for Door Gate Area 6

## Slide 43: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system informations
    Conclusion, evaluation and questions

## Slide 44: Practice 5
Overview of ATU’s
Native:
SIA IP DC09
IP Integrated:
DALM1000 Grade 2/Niveau 20
DALM3000 Grade 3/Niveau 60
Serial (RS-232):
ESP: IRIS series, AddSecure Safetel, others)

## Slide 45: Agenda
    Overview of the NOX System
    Important points
    Brief introduction of areas, users and profiles/groups
    Overview of NOX Config, the configuration software
    Practice 1: Setup Areas, Units and IO
    Practice 2: Create extra area (Area 4) move input and create slave settings
    Practice 3: Access Control setup using CMO
    Practice 4: Time Profiles setup
    Practice 5: Alarm Transmission
    Service functions on the control panel and system information
    Conclusion, evaluation and questions

## Slide 46: NOX
Add-on via one-time license pr. site
SIMS
TPA Touch Screen
iNOX Graphical Display

## Slide 47: SIMS
SIMS
In SIMS you can use any combination of NOX central types based on the size of a given location

## Slide 48: NOX integration

## Slide 49: SIMS integration

## Slide 50: SIMS CCTV

## Slide 51: Thank you…
Find more information about NOX:
    www.aras.dk
    www.noxsystems.dk